## Slide 2: TwinCAT collaboration
An overview
Stolen from Federico rojas

## Slide 3
The TwinCAT collaboration
1

## Slide 4: TwinCAT working group
  4th ESS motion control workshop 2018
    TwinCAT day
    TwinCAT working group
      JCNS
      ISIS
      ESS
  1st Code Camp 2019 (ISIS)
    Mission
    Purpose
    Way of working and processes
    Coding standards
History

## Slide 5: TwinCAT working group
We aim to alleviate the risk associated with introducing a new motion control solution by creating a large group of 'experts' who develop a single software solution and share other internal processes together. The purpose of this group is to encourage collaboration at a wider level between facilities and ensure that other facilities do not make the same mistakes, and suffer from problems, that other groups have already solved.
The working group serves two main purposes:
  Collaboratively develop a Beckhoff based PLC software solution for motion control at Large Scale Physics Facilities, currently with a focus on neutron science requirements.
  Provide an information repository for designing, deploying, commissioning, installing, and long term support, of Beckhoff motion control systems at Large Scale Physics Facilities. This will take the form of written documentation, software tools, and forum discussion.
Mission

## Slide 6: TwinCAT working group
All facilities are welcome to join the working group under the following guidelines:
  If using the working group software solution we ask that you get involved with the development process, review tickets on JIRA, and engage in the weekly video conference when possible.
  Openness and collaboration are the foundations of this working group, you should be prepared to share any internally developed processes and software where possible.
Joining Requirements

## Slide 7
TwinCAT generic project
2

## Slide 8: TwinCAT generic project
A generic solution structure for all projects in a Git repository called tc_generic_structure with a submodule called tc_mca_std_lib.
All necessary code to link the Axis’ data structure and function block’s.
Recovery or persistent positioning data.
Space for programming application specific variables, FB’s and PROG’s.
tc_generic_structure

## Slide 9: TwinCAT generic project
tc_generic_structure

## Slide 10
TwinCAT MCA standard library
3

## Slide 11: TwinCAT MCA standard library
A Git repository as a submodule to tc_generic_structure.
All data structures, function blocks and a GUI for motion applications.
    DUTs
    POUs
    VISUs
tc_mca_std_lib

## Slide 12: TwinCAT MCA standard library
DUTs: ST_AxisStruct, ST_PneumaticAxisStruct

## Slide 13: TwinCAT MCA standard library
ST_AxisControl: These are parameters that are used to initiate axis movements they are commands that are commonly used.
ST_AxisStatus: NC and FB’s status
ST_AxisConfig: These are axis parameters that are set up during commissioning and in theory don't need to be change as part of daily moving of axes.
ST_AxisError: Error ID’s of the motion FB’s and NC
ST_AxisInputs: physical inputs for limit switches and home sensor
AXIS_REF: The AXIS_REF data type contains axis information. AXIS_REF is an interface between the PLC and the NC.
ST_AxisStruct

## Slide 14: TwinCAT MCA standard library
VAR_IN_OUT: ST_AxisStruct
Supported functions:
  MC_Power
  MC_Reset
  MC_Stop
  MC_Halt
  MC_Jog
  MC_MoveAbsolute
  MC_MoveVelocity
  MC_MoveRelative
FB_Axis
  MC_MoveModulo
  MC_GearIn
  MC_GearOut
  MC_GearInMultiMaster
  FB_Homing
  MC_WriteParameter
  MC_ReadParameter

## Slide 15: TwinCAT MCA standard library
Two real axes: positive and negative blade.
Two virtual axes: gap size and gap center.
Individual control for real axes.
FB_SlitPair
  Multi master gearing.
  Issue: automatic gear in and out.
FB_SlitPairV2
  Set point generator for real and virtual axes.
  Issue: lag error in some cases.
FB_SlitPair, FB_SlitPairV2

## Slide 16: TwinCAT MCA standard library
VAR_IN_OUT: ST_PneumaticAxisStruct
  Single solenoid valves
  HW and/or SW control
  Time out errors and status
FB_PneumaticAxis

## Slide 17: Useful Links
https://confluence.esss.lu.se/display/MCAG/TwinCAT+Commissioning+Workflow

## Slide 19
References
[1] https://confluence.esss.lu.se/display/MCAG/TwinCAT+Commissioning+Workflow
[2] https://confluence.esss.lu.se/display/MCAG/1-Motors-Feedback-Switches
19
Notes: Thanks

## Slide 20
Questions?

## Slide 21: Thank you!