Motion Control and EPICS
Torsten Bögershausen
Experiment Control
www.europeanspallationsource.se

---
Introduction
- Welcome everybody
- What is not:
  - a 4 day training course in EPICS
  - a 8 hour training course in motion control
  - an introduction to EtherCAT
  - a 4 day training course on TwinCAT
  - a 2 day training course on ecmc

---
Introduction
- What it is:
  - a 90 minutes introduction
  - a list of URLs for further reading
  - a list of Git repositories to get started
- Lots of stuff to go through
- Motto: We like to move it

---
Overview
- Overview (this slides)
- History, historic stuff
- EPICS Motor module, general overview
- More presentations
- Live demo ?

---
Motion Control at ESS
- Green field site: No legacy
- Aim for a high range solution to use as many neutrons as possible
- Collect experience from other facilities
- Prefer “of the shelf” over “home made”
- Prefer proven SW vs ”develop from scratch”

---
The way forward
Which way forward ?

---
Motion control platform
- Different motion controllers evaluated
- Did we found the golden bullet ?
- Facility is build while we speak

---
EtherCAT
- EtherCAT based hardware
- - Motion Control
- - medium range data acquisition
- Faster than a slow control PLC (1Hz vacuum)
- 10Hz..10kHz
- Slower than a digitizer card (µTCA card)

---
EtherCAT terminals for stepper motors: EL704x

---
EtherCAT terminal for Servos

---
Test stand in the lab

---
Motion control cabinet

---
Motion control cabinet

---
Motion control cabinet

---
Motion control cabinet

---
Software
- 1 hardware platform: EtherCAT
- 2 Software platforms:
- ecmc (open source)
- TwinCAT (commercial)

---
TwinCAT
- TwinCAT: commercial from Beckhoff
- May (and must) write PLC code yourself
- Common code base for ”our” code:
  bitbucket.org/europeanspallationsource/tc_mca_std_lib/
- International TwinCAT collaboration
  Focus on motion control
- ESS (Sweden), ISIS (UK), JCNS (Germany)

---
ecmc
- Fully open source package
  Linux based (No Windows !)
- https://github.com/epics-modules/ecmc
- Used in accelerator @ ESS
- Used by other facilities (PSI, CLS)

---
End of intro
- Short questions: here and now
- Over to motion-control-EPICS